High Throughput Cloning-MCSG7

Manual KOD PCR set up

Primer Plate Preparation:

Combine and dilute stock primers-forward and reverse (50 µM). Add 1µl of 	forward and reverse stock primers to 38 µl of H2O to make 1.25 µM final 	concentration. Mix, quick spin and store at -20oC.

- Increased dilution plate: 5µl FP and 5µl RP plus 190µl H2O

- Always do a quick spin for the FR primer plates and then make the dilute mix.

Template Plate Preparation:

Make 1:25 dilution of template plasmid with TE. Store at -20oC.

- Quick spin template plasmid and quick spin again after dilution.

Reaction set up: Vortex before adding (except KOD polymerase)

- Prepare reaction mix as follows from the KOD kit:

1 x			110 x

H2O				26 µl			2860 µl

10x KOD Buffer		5 µl			550 µl

dNTPs	(2 mM each)		5 µl			550 µl

MgSO4 (25 mM)		2 µl			220 µl

KOD polymerase (1 U/µl)	1 µl			110 µl

F/R primers (12.5 µM each)	10 µl

Template			1µl

Total vol.			50 µl			4290 µl

- Mix well.

- Transfer 39µl of the master mix to each well.

- Add 10 µl of the diluted F/R primers.

- Add 1 µl of diluted plasmid DNA.

- Centrifuge briefly to ensure liquid contents are at the bottoms of the wells.

- Start amplification.

Cycling parameter: (2 hours)

Denature	95oC 		3 min

Cycle		95oC		40 sec

53oC		40 sec			32 cycles

72oC		1.5 min

Polish		72oC		10 min

Hold		4oC

Agarose gel

Mix 5 µl of PCR reaction with 2 µl of 5x agarose gel loading dye. Mix and quick spin. Run it on a 1% agarose/TAE gel. (2g of agarose in 200 ml of 1x TAE with 7 µl of ethidium bromide).

- Heat for about 1.5-2 mins but when starts to boil mix it and heat it again. After it cools down, add ethidium bromide.

- 10X TAE buffer

PCR clean up

Clean up PCR reactions using Qiagen’s QIAQuick PCR Purification kit per manufacture’s protocol.

Elution volume: 150 µl of TE.

Cleaned PCR products can be store at -20oC.

PicoGreen

- Take Picogreen dye out of the fridge and allow it to come to RT, protect it from light.

- Mix 55µl of Picogreen with 11 ml of TE. Use this mixture immediately as it is light sensitive.

- Transfer 3 µl of cleaned PCR product to 97 µl of H2O in a 96-well plate (optical plate for reading!).

- Add 100 µl of diluted Picogreen. Mix and read absorbance at 450 nm immediately.

- Password: mcsg#2008b

LIC reaction set up

- Make LIC reaction master mix as follows for one plate:

- Vortex before adding.

10x LIC reaction buffer		465 µl

dCTP (25 mM)			465 µl

DTT (100 mM)			228 µl

H2O					61 µl

T4 DNA Polymerase (tap it)			250 U (100 µl)

Keep the mix on ice.

  - dCTP (25mM): 100mM available so 1:4 dilution (200µl dCTP + 600µl H2O)

- Transfer 16 µl of cleaned PCR products to a 96-well plate.

- Add 16 µl of H2O.

- Add 10.4 µl of above reaction mix.

- Pipet up and down several times to mix. (quick spin as well)

- Let reactions stand at RT for 30 min.

- Transfer LIC plate to PCR machine. Heat 20 min at 75oC to stop the reaction.

- The plates can be stored at -20oC.

Annealing Reaction and Transformation

- Prepare a plate with 4 µl of LIC-treated vector (actual vol depends on the prep).

  - pMCSG7 fraction A prepared by Wen use 5.5ul.

  - Mix: 435 µl water + 5.5 µl vector (4µl to each well)

- Add 4 µl of LIC reaction of the PCR product to the plate.

- Mix (with pipet and quick spin)and stand at RT for 20 min.

- Add 45 µl of BL21 competent cells into the plate (competent cells were thawed on ice). Briefly centrifuge the plate to make sure the competent cells mix with the annealing reaction. And incubate the plate on ice for 5-15 min.

  - After/during adding BL21 keep plate on ice!

- Heat shock the cells by heating the plate 1 min at 48oC on PCR machine (or a heat block).

- The plate is then incubated on ice for 2-10 min.

- Add 120 µl of LB (no amp!) to each well. Incubate the plate at 37oC for 30 min. (no mixing)

Plate out

- 50% glycerol: 50mL H2O+ 50mL 100% Glycerol. Autoclave it for 30 minutes.

- LB (12.5g in 500mL + 7.5g Agar) and autoclave it.

  - When cool enough to touch add amp (500 µl of Amp)

Pour 500 ml LB agar with Amp into two grid plates.

Plate out 150 µl of above recovered culture into each grid to ensure ~ 20 single colonies for each transformation. (plate out vol depends on LIC vector and competent cells efficiencies).

Incubate the plates at 37oC overnight.

Expression/Solubility assay

- Fill a deep well plate with 0.6 ml of LB/AMP (Can use 2XYT media)

- Pick colonies into deep well block and incubate at 37oC with shaking to an OD600 of 0.5.

- Take out 100 µl of culture in a PCR plate, add 100 µl of sterile 50% glycerol and store at -80oC. This is the frozen stock.

- Add IPTG to remaining 0.5 ml of culture, final concentration 1 mM. Continue incubating at 37oC for another 2 hours (or 20oC overnight depends on the schedule).

  - 1000X-250X: Dilution of IPTG:110 µl of 1000X + 330 µl 2XYT (add 2 µl of IPTG to each well)

- Take 200 µl of culture in PCR plate (2X 100 µl). Spin down at 4000 rpm for 10 min at 4oC to pellet cells. Discard supernatant and resuspend cell pellets in 30 µl of SDS loading dye. Denature 5 min at 95-100oC and store at -20oC. This is to check expression of proteins. About 10 µl of each will be loaded on SDS-PAGE gel.

- Pellet the remaining 300 µl (2x 150ul into a PCR plate) of cultures by spinning as above. Cell pellets can be stored at -20oC or proceed to next step.

- Add 32 µl of lysis buffer to each sample(mix with pipettes)and incubate 20 minutes at RT. Freeze-thaw 3 times. Centrifuge 10 min at 4000 rpm at 4oC.

|  | Total Volume of Lysis Buffer |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reagents | 2mL | 3mL | 4mL | 5mL | 6mL | 7mL | 8mL | 9mL | 10mL | 11mL |
| H2O | ~2mL | ~3mL | ~4mL | ~5mL | ~6mL | ~7mL | ~8mL | ~9mL | ~10mL | ~11mL |
| 1M Pi buffer, pH 8 | 100 μl | 150 μl | 200 μl | 250 μl | 300 μl | 350 μl | 400 μl | 450 μl | 500 μl | 550 μl |
| 5M NaCl | 120 μl | 180 μl | 240 μl | 300 μl | 360 μl | 420 μl | 480 μl | 540 μl | 600 μl | 660 μl |
| PI | 12 μl | 18 μl | 24 μl | 30 μl | 36 μl | 42 μl | 48 μl | 54 μl | 60 μl | 66 μl |
| Lz | 8 μl | 12 μl | 16 μl | 20 μl | 24 μl | 28 μl | 32 μl | 36 μl | 40 μl | 44 μl |
| Bz | 2 μl | 3 μl | 4 μl | 5 μl | 6 μl | 7 μl | 8 μl | 9 μl | 10 μl | 11 μl |

PI: Protease Inhibitor Cocktail (Sigma)

Lz: rLyzozyme  (Novagen)

Bz: Bezonase  (Novagen)

- Transfer 30 µl of supernatant to another plate. Add 10µl of SDS loading dye to the plate containing the supernatant. Denature as above and store at -20oC. This is to check solubility of expressed proteins. 15 µl will be loaded on SDS-PAGE gel.

Make Freezer Stock (Final)

- Inoculate 1 ml of LB/Amp medium (in 96-deep well plate) with 20µl from frozen stock

- Incubate at 37C with shaking overnight.

- Collect the bacteria by centrifugation at 4000rpm at 4°C for 10 minutes.

- While centrifuging samples prepare LB/DMSO solution.  LB plus 8% DMSO by volume.

- Discard the supernatant and resuspend the pellet in 200µl of LB/DMSO.

- Store the frozen stocks at -80C.