Protocols for Protein Purification using AKTA

Day 1 Small Culture

Day 2 Large Culture

Day 3 – Harvesting Cells

- Pour cell culture into centrifuge bottle. Centrifuge for 20 minutes @ 4000 rpm.

- Dispose supernatant

- Keep cells on 4 ºC  from now on

- Re-suspend the cells in 40 mL of cold Lysis Buffer and make sure there is no cell clumps left.

- Transfer resuspended cells into 50 mL Falcon tube with lysis buffer, add 200 µl protease inhibitor cocktail.

- Cells can be stored at  -80 ºC freezer until they are ready to be purified.

Day 4 – IMAC 1*

*Note: AKTA must be stripped, charged, and blanked before actual purification run

- Thaw out cells - place in bucket of warm water for a few minutes. When thawed, transfer to ice (4 ºC )

- Add Lysozyme to final concentration 1mg/mL (40mgs/40 ml of cell lysate)

- Mix gently and keep cells on ice for 30 min

- Sonicate cells on ice for 5 minutes. Program 1: 2 seconds “on” 7 seconds “off”

- Transfer to 45 mL centrifuge tubes. Centrifuge for 1 hour @ 13,000 rpm, SS-34 rotor

- Using 0.4 μm syringe filter, filter supernatant into clean, 50 mL Falcon tube

- Run Purification Program in AKTA Xpress

Buffers for AKTA Xpress

|  | Lysis Buffer | Wash Buffer | Elution Buffer | Desalting Buffer |
| --- | --- | --- | --- | --- |
| HEPES pH 8.0 | 50 mM | 50 mM | 50 mM | 50 mM |
| NaCl | 500 mM | 500 mM | 500 mM | 500 mM |
| Glycerol | 5 % | 5% | 5 % | 5 % |
| *β-mercaptoethanol | 10 mM | 10 mM | 10 mM | 10 mM |
| *Imidazole | 10 mM | 20 mM | 250 mM | none |

*4X Buffer A does not contain these ingredients

To Prepare Buffers – add ingredients, stir, filter and store at 4 ºC

| Stock Solution | Lysis Buffer (4L) | Elution Buffer (2L) | Desalting Buffer (4L) |
| --- | --- | --- | --- |
| 4X Buffer A | 1 L | 500 mL | 1 L |
| 14.3 M β-mercaptoethanol | 2.8 mL | 1.4 mL | 2.8 μL |
| 2.5 M Imidazole | 16 mL | 200 mL | None |
| MQ Water | Bring up to proper volume |  |  |

Other Stock solutions needed for AKTA Xpress:

50 mM EDTA/0.5 M NaCl/50mM HEPES, pH 8

100 mM NiSO4

Day 5 – TEV Cleavage

- Collect and combine fractions, keep everything at 4 ºC

- Calculate amount of TEV protease needed

- Take a few µL of each pure protein sample. This will be the “uncut” samples – proteins that still contain His tags.  The amount of protein taken will depend on the concentration of the protein.

- Add TEV to remainder of protein sample (1: 40 tev to target protein ration)

- Incubate proteins at 4 ºC refrigerator for 1-4 days

- Prepare cut samples. Run SDS-PAGE to determine if tag cleavage has been successful. Use “uncut” protein samples as a reference point.

- If successful, run IMAC 2

Day ? – IMAC 2

- Add 4 mL of Ni-NTA slurry to a plastic column

- Allow column to “pack” by letting liquid flow through

- Wash packed column with 20 mL MQ water

- Equilibrate with 20 mL of Lysis Buffer

- Slowly add protein sample using transfer pipette

- Collect flow-through sample right away

- Measure volume and concentration of protein

- Concentrate protein samples using Centricon Concentrators 5K

- Exchange buffer to 50 mM ammonium bicarbonate.

- Depending on protein solubility, concentrate to 500 uL to 1 mL

- Measure protein concentration by absorbance at 280nm.

- Based on final protein concentration, run about 0.75µg of purified protein on a gel.

Buffers

Desalting buffer: 50 mM HEPES, pH 8.0, 500 mM NaCl, 10 mM -mercaptoethanol (-ME), 5% glycerol

| Stock | Total volume 1 L | Total volume 2 L |
| --- | --- | --- |
| 1 M HEPES | 50 ml | 100 ml |
| 5 M NaCl | 100 ml | 200 ml |
| 14.3 M -ME | 700 l | 1400 l |
| 100% glycerol | 50 ml | 100 ml |

Lysis buffer:  50 mM HEPES, pH 8.0, 500 mM NaCl, 10 mM imidazole, 10 mM -mercaptoethanol (-ME), 5% glycerol

| Stock | Total volume 1 L | Total volume 2 L |
| --- | --- | --- |
| 1 M HEPES | 50 ml | 100 ml |
| 5 M NaCl | 100 ml | 200 ml |
| 1 M imidazole | 10 ml | 20 ml |
| 14.3 M -ME | 700 l | 1400 l |
| 100% glycerol | 50 ml | 100 ml |

Wash buffer: 50 mM HEPES, pH 8.0, 500 mM NaCl, 20 mM imidazole, 10 mM -mercaptoethanol (ME), 5% glycerol

| Stock | Total volume 500 ml | Total volume 1 L |
| --- | --- | --- |
| 1 M HEPES | 25 ml | 50 ml |
| 5 M NaCl | 50 ml | 100 ml |
| 1 M imidazole | 10 ml | 20 ml |
| 14.3 M -ME | 350 l | 700 l |
| 100% glycerol | 25 ml | 50 ml |

Elution buffer: 50 mM HEPES, pH 8.0, 500 mM NaCl, 250 mM imidazole, 10 mM -mercaptoethanol (-ME), 5% glycerol

| Stock | Total volume 500 ml | Total volume 1 L |
| --- | --- | --- |
| 1 M HEPES | 25 ml | 50 ml |
| 5 M NaCl | 50 ml | 100 ml |
| 1 M imidazole | 125 ml | 250 ml |
| 14.3 M -ME | 350 l | 700 l |
| 100% glycerol | 25 ml | 50 ml |